## Internal Calibration List
Internal Calibration list of Machine/Instruments QA/21/R1
Sr. No. | File sequence No. | Machine/Equip. Code | Machine Name | Instrument Code | Accuracy/Least count | Master Instrument used | Instrument Name | Department | Calibration Date | Calibration Due Date | Frequency | Remark | Comments
1 | 1 | L/pH/01 | pH-meter (Portable) | pH/01 | -- | Std. Solution | pH Meter | Quality | - | - | Weekly |  | -
2 | 1 | L/01 | Electronic Balance 500 gm | WB/08 | ±1mg | WBX/03 | Weighing Balance | Quality | - | - | Monthly |  | -
3 | 1 | L/TDSM/01 | TDS-meter | L/TDSM/01 | -- | Std. Solution | TDS Meter | Quality | - | - | Monthly |  | -
4 | 1 | L/DL/03 | Data Logger III (PPI-1) | DL/08 | ±0.5°C | MPID/03 | Temperature Controller | Quality | - | - | Monthly |  | -
5 | 1 | L/DL/04 | Data Logger IV (Libratherm) | DL/10 | ±0.5°C | MPID/03 | Temperature Controller | Quality | - | - | Monthly |  | -
6 | 1 | L/DL/05 | Data Logger V (PPI-2) | DL/11 | ±0.5°C | MPID/03 | Temperature Controller | Quality | - | - | Monthly |  | -
7 |  | L/DL/06 | Data Logger VI (PPI-3)-With Pendrive | DL/12 | ±0.5°C | MPID/03 | Temperature Controller | Quality | - | - | Monthly | - | -
8 | 1 | L/02 | Ultra Low Temp Constant Bath-I | PID/34 | ±1°C | MPID/03 | Temperature Controller | Quality | 2025-06-26 | 2026-07-06 | Quarterly |  | -
9 | 2 | L/03 | Hot Plate | PID/35 | ±5°C | MPID/03 | Temperature Controller | Quality | 2026-02-26 | 2026-07-05 | Quarterly |  | -
10 | 3 | L/04 | Hot Air Oven | PID/36 | ±5°C | MPID/03 | Temperature Controller | Quality | 2026-02-26 | 2026-05-25 | Quarterly |  | -
11 | 4 | L/05 | Water Bath-Hot | PID/37 | ±1°C | MPID/03 | Temperature Controller | Quality | 2026-02-26 | 2026-05-25 | Quarterly |  | -
12 | 5 | L/06 | Water Bath-Cold | PID/38 | ±3°C | MPID/03 | Temperature Controller | Quality | 2026-02-26 | 2026-05-25 | Quarterly |  | Accuracy changed from 1 to 3 due to PID changed
13 | 6 | L/07 | T-History Apparatus - I | PID/39 | ±1°C | MPID/03 | Temperature Controller | Quality | 2026-02-26 | 2026-05-25 | Quarterly |  | -
14 | 7 | L/09 | Water Bath-Hot II | PID/66 | ±5°C | MPID/01 | Temperature Controller | Quality | 2026-02-26 | 2026-05-25 | Quarterly |  | -
15 | 8 | L/10 | T-History Apparatus - II | PID/69 | ±1°C | MPID/03 | Temperature Controller | Quality | 2026-02-26 | 2026-05-25 | Quarterly |  | -
16 | 9 | L/11 | Ultra Low Temp Constant Bath-III | PID/70 | ±1°C | MPID/03 | Temperature Controller | Quality | 2026-02-26 | 2026-05-25 | Quarterly |  | -
17 | 10 | L/16 | Ultra Low Temp Constant Bath-II | PID/49 | ±1°C | MPID/03 | Temperature Controller | Quality | 2026-02-26 | 2026-05-25 | Quarterly |  | -
18 | 11 | L/17 | Electronic Balance 15 KG | WB/17 | ±0.5g | WBX/04 | Weighing Balance | Quality | 2026-02-26 | 2026-05-25 | Quarterly |  | -
19 | 1 | U/12 | Hot Water Tank 300 Ltr | PID/67 | ±5°C | MPID/03 | Temperature Controller | Utility | 2026-02-26 | 2026-05-25 | Quarterly |  | -
20 | 2 | U/32 | Hot water tank 200 Ltr | PID/50 | ±5°C | MPID/03 | Temperature Controller | Utility | 2026-02-26 | 2026-05-25 | Quarterly |  | -
21 | 1 | P/01 | Electronic Balance (100Kg) | WB/01 | ±10g | WBX/01 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
22 | 2 | P/02 | Vacuum Oven-III | PID/68 | ±5°C | MPID/03 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
23 | 3 | P/ 04 | Hot air Oven-1 | PID/71 | ±5°C | MPID/03 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
24 | 4 | P/ 05 | Hot air Oven-2 | PID/72 | ±5°C | MPID/03 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
25 | 5 | P/09 | PCM Mixer – I | PID/07 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
26 | 6 | P/09 | PCM Mixer – I | PID/08 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
27 | 7 | P/09 | PCM Mixer – I | LC/01 | 0.1% @ 20% load | WBX/01 | Loadcell | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
28 | 8 | P/12 | 500L PCM Mixer-VI | PID/63 | ±5°C | MPID/03 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
29 | 9 | P/12 | 500L PCM Mixer-VI | PID/64 | ±5°C | MPID/03 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
30 | 10 | P/12 | 500L PCM Mixer-VI | LC/02 | 0.1% @ 20% load | WBX/01 | Loadcell - 1ton | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
31 | 11 | P/13 | 1.5KL PCM Mixer-VII | PID/65 | ±5°C | MPID/03 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
32 | 12 | P/13 | 1.5KL PCM Mixer-VII | LC/03 | 0.1% @ 20% load | WBX/01 | Loadcell - 2ton | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
33 | 13 | P/ 15 | Electronic Balance 15 KG II | WB/02 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | Not found
34 | 14 | P/18 | Pouch Filling & Sealing Machine I | PID/11 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
35 | 15 | P/18 | Pouch Filling & Sealing Machine I | PID/12 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
36 | 16 | P/18 | Pouch Filling & Sealing Machine I | PID/13 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
37 | 17 | P/18 | Pouch Filling & Sealing Machine I | PID/14 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
38 | 18 | P/18 | Pouch Filling & Sealing Machine I | PID/15 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
39 | 19 | P/24 | Electronic Balance 20 KG XXI | WB/31 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
40 | 20 | P/25 | Electronic Balance 20 KG XXII | WB/32 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
41 | 21 | P/34 | Band Sealer I | PID/18 | ±5°C | MPID/02 | Temperature Controller | Prod. |  | 2026-05-27 | Quarterly | Not in use while calibration on 29-Nov-25 | -
42 | 22 | P/35 | Band Sealer II | PID/19 | ±5°C | MPID/02 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
43 | 23 | P/36 | Band Sealer IV | PID/59 | ±5°C | MPID/02 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
44 | 24 | P/37 | Band Sealer V | PID/60 | ±5°C | MPID/02 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
45 | 25 | P/38 | Planetary Mixer | PID/20 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
46 | 26 | P/39 | Electronic Balance 10 Kg | WB/03 | ±1g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
47 | 27 | P/40 | FFS-2 M/c | PID/74 | ±5°C | MPID/03 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
48 | 28 | P/40 | FFS-2 M/c | H1-F | ±5°C | MPID/02 | Heater | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
|  | P/40 | FFS-2 M/c | H1-R | ±5°C | MPID/02 | Heater | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
|  | P/40 | FFS-2 M/c | H2-F | ±5°C | MPID/02 | Heater | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
|  | P/40 | FFS-2 M/c | H2-R | ±5°C | MPID/02 | Heater | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
|  | P/40 | FFS-2 M/c | H3-F | ±5°C | MPID/02 | Heater | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
|  | P/40 | FFS-2 M/c | H3-R | ±5°C | MPID/02 | Heater | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
|  | P/40 | FFS-2 M/c | H4-F | ±5°C | MPID/02 | Heater | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
|  | P/40 | FFS-2 M/c | H4-R | ±5°C | MPID/02 | Heater | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
|  | P/40 | FFS-2 M/c | H5-F | ±5°C | MPID/02 | Heater | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
|  | P/40 | FFS-2 M/c | H5-R | ±5°C | MPID/02 | Heater | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
49 | 29 | P/42 | Sigma mixer II | PID/21 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
50 | 30 | P/43 | Band Sealer VI | PID/61 | ±5°C | MPID/02 | Temperature Controller | Prod. |  | 2026-05-27 | Quarterly | Not in use while calibration on 29-Nov-25 | -
51 | 31 | P/44 | Electronic Balance 15 Kg | WB/04 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
52 | 32 | P/46 | Band Sealer VII | PID/62 | ±5°C | MPID/02 | Temperature Controller | Prod. |  |  | Quarterly | Shifted to P-14 | -
53 | 33 | P/48 | Pouch Filling & Sealing Machine III | PID/25 | ±5°C | MPID/01 | Temperature Controller | Prod. |  |  | Quarterly | Not in Use | -
54 | 34 | P/52 | Thermotab Cap Sealing Machine | PID/26 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
55 | 35 | P/52 | Thermotab Cap Sealing Machine | PID/27 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
56 | 36 | P/54 | Electronic Balance 15 KG XXI | WB/24 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
57 | 37 | P/58 | PCM Mixer III | PID/28 | ±5°C | MPID/03 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
58 | 38 | P/58 | PCM Mixer III | PID/29 | ±5°C | MPID/03 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
59 | 39 | P/58 | PCM Mixer III | LC/04 | 0.1% @ 20% load | WBX/01 | Loadcell | Prod. |  | 2026-05-27 | Quarterly | Not being on
60 | 40 | P/60 | Pouch Filling & Sealing Machine III | PID/57 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
61 | 41 | P/65 | Electronic Balance 15 KG XXII | WB/25 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
62 | 42 | P/66 | Heating hopper assembly | PID/30 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
63 | 43 | P/66 | Heating hopper assembly | PID/31 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
64 | 44 | P/66 | Heating hopper assembly | PID/56 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
65 | 45 | P/67 | Electronic Balance 15 KG XXIII | WB/26 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
66 | 46 | P/68 | Vacuum Oven I | PID/32 | ±5°C | MPID/03 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
67 | 47 | P/69 | Vacuum Oven II | PID/33 | ±5°C | MPID/03 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
68 | 48 | P/71 | Electronic Balance 15 KG XXIV | WB/27 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
69 | 49 | P/76 | Electronic Balance (100Kg) | WB/11 | ±10g | WBX/01 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
70 | 50 | P/77 | Electronic Balance 15kgs | WB/12 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
71 | 51 | P/79 | Electronic Balance 15 KG XXV | WB/28 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
72 | 52 | P/85 | Electronic Balance – 2 Ton | WB/33 | ±200g | WBX/01 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
73 | 53 | P/87 | Band Sealer III | PID/52 | ±5°C | MPID/01 | Temperature Controller | Prod. |  | 2026-05-27 | Quarterly | Not in use while calibration on 29-Nov-25 | -
74 | 54 | P/88 | Electronic Balance 600 G-XII | WB/13 | ±0.01g | WBX/03 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
75 | 55 | P/90 | Electronic Balance 15 Kg-XIII | WB/14 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
76 | 56 | P/91 | Electronic Balance 15 Kg-XIV | WB/15 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
77 | 57 | P/92 | Electronic Balance 15 Kg-XV | WB/16 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
78 | 58 | P/93 | PCM Mixer-IV | PID/53 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
79 | 59 | P/93 | PCM Mixer-IV | PID/54 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
80 | 60 | P/93 | PCM Mixer-IV | LC/05 |  | WBX/01 | Loadcell | Prod. |  | 2026-05-27 | Quarterly | Not being on
81 | 61 | P/100 | Electronic Balance 500 KG XVI | WB/19 | ±50g | WBX/01 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
82 | 62 | P/101 | Electronic Balance 15 KG XVII | WB/20 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
83 | 63 | P/104 | Electronic Balance 5 KG XVIII | WB/21 | ±0.5g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
84 | 64 | P/105 | Electronic Balance 5 KG XIX | WB/22 | ±0.5g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
85 | 65 | P/106 | Electronic Balance 20 KG XX | WB/23 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
86 | 66 | P/110 | Electronic Balance 15 KG XXVI | WB/29 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
87 | 67 | P/111 | Electronic Balance 15 KG XXVII | WB/30 | ±2g | WBX/04 | Weighing Balance | Prod. | 2026-02-27 | 2026-05-26 | Quarterly |  | -
88 | 68 | P/128 | 2KL PCM Mixer-X | LC/06 | 0.1% @ 20% load | WBX/01 | Loadcell - 2ton | Prod. | 2026-02-28 | 2026-05-27 | Quarterly
89 | 69 | P/128 | 2KL PCM Mixer-X | FM/01 |  | FM/01 | Flowmeter | Prod. |  | 2025-08-30 | Quarterly | Added on 11-June-25
90 | 70 | P/129 | 2KL PCM Mixer-XI | FM/02 |  | FM/02 | Flowmeter | Prod. |  | 2025-08-30 | Quarterly | Added on 11-June-25
91 | 71 | P/131 | 5KL PCM Mixer-XIII | FM/03 |  | FM/03 | Flowmeter | Prod. |  | 2025-08-30 | Quarterly | Added on 11-June-25
92 | 72 | P/145 | Pedal sealer 16mm | PID/73 | ±5°C | MPID/01 | Temperature Controller | Prod. | 2026-02-28 | 2026-05-27 | Quarterly |  | -
Effective Date:- 27.08.2024

## Calibration Sticker (hidden)
Machine Name: | Ultra Low Temp Constant Bath-I | Machine Name: | Hot Plate
Machine No: | L/02 | Machine No: | L/03
Instrument Code: | PID/34 | Instrument Code: | PID/35
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electric Oven | Machine Name: | Water Bath-Hot
Machine No: | L/04 | Machine No: | L/05
Instrument Code: | PID/36 | Instrument Code: | PID/37
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Water Bath-Cold | Machine Name: | T-History Apparatus - I
Machine No: | L/06 | Machine No: | L/07
Instrument Code: | PID/38 | Instrument Code: | PID/39
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS
Machine Name: | Water Bath-Hot II | Machine Name: | T-History Apparatus - II
Machine No: | L/09 | Machine No: | L/10
Instrument Code: | PID/66 | Instrument Code: | PID/69
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: | 0 | Sign: | 0
PLUSS
Machine Name: | Ultra Low Temp Constant Bath-III | Machine Name: | Ultra Low Temp Constant Bath-II
Machine No: | L/11 | Machine No: | L/16
Instrument Code: | PID/70 | Instrument Code: | PID/49
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS
Machine Name: | Electronic Balance 15 KG | Machine Name: | Hot Water Tank 300 Ltr
Machine No: | L/17 | Machine No: | U/12
Instrument Code: | WB/17 | Instrument Code: | PID/67
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Hot water tank 200 Ltr | Machine Name: | Electronic Balance (100Kg)
Machine No: | U/32 | Machine No: | P/01
Instrument Code: | PID/50 | Instrument Code: | WB/01
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Vacuum Oven-III | Machine Name: | PCM Mixer – I
Machine No: | P/02 | Machine No: | P/09
Instrument Code: | PID/68 | Instrument Code: | PID/07
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | PCM Mixer – I | Machine Name: | 500L PCM Mixer-VI
Machine No: | P/09 | Machine No: | P/12
Instrument Code: | PID/08 | Instrument Code: | PID/63
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | 500L PCM Mixer-VI | Machine Name: | 1.5KL PCM Mixer-VII
Machine No: | P/12 | Machine No: | P/13
Instrument Code: | PID/64 | Instrument Code: | PID/65
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Pouch Filling & Sealing Machine I | Machine Name: | Pouch Filling & Sealing Machine I
Machine No: | P/18 | Machine No: | P/18
Instrument Code: | PID/11 | Instrument Code: | PID/12
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: | 0 | Sign: | 0
PLUSS |  | PLUSS
Machine Name: | Pouch Filling & Sealing Machine I | Machine Name: | Pouch Filling & Sealing Machine I
Machine No: | P/18 | Machine No: | P/18
Instrument Code: | PID/13 | Instrument Code: | PID/14
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Pouch Filling & Sealing Machine I | Machine Name: | Electronic Balance 20 KG XXI
Machine No: | P/18 | Machine No: | P/24
Instrument Code: | PID/15 | Instrument Code: | WB/31
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance 20 KG XXII | Machine Name: | Band Sealer I
Machine No: | P/25 | Machine No: | P/34
Instrument Code: | WB/32 | Instrument Code: | PID/18
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | Ok
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Band Sealer II | Machine Name: | Band Sealer IV
Machine No: | P/35 | Machine No: | P/36
Instrument Code: | PID/19 | Instrument Code: | PID/59
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Band Sealer V | Machine Name: | Planetary Mixer
Machine No: | P/37 | Machine No: | P/38
Instrument Code: | PID/60 | Instrument Code: | PID/20
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance 10 Kg | Machine Name: | Sigma mixer II
Machine No: | P/39 | Machine No: | P/42
Instrument Code: | WB/03 | Instrument Code: | PID/21
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Band Sealer VI | Machine Name: | Electronic Balance 15 Kg
Machine No: | P/43 | Machine No: | P/44
Instrument Code: | PID/61 | Instrument Code: | WB/04
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Band Sealer VII | Machine Name: | Pouch Filling & Sealing Machine III
Machine No: | P/46 | Machine No: | P/48
Instrument Code: | PID/62 | Instrument Code: | PID/25
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Thermotab Cap Sealing Machine | Machine Name: | Thermotab Cap Sealing Machine
Machine No: | P/52 | Machine No: | P/52
Instrument Code: | PID/26 | Instrument Code: | PID/27
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance 15 KG XXI | Machine Name: | PCM Mixer III
Machine No: | P/54 | Machine No: | P/58
Instrument Code: | WB/24 | Instrument Code: | PID/28
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | PCM Mixer III | Machine Name: | FFS-III
Machine No: | P/58 | Machine No: | P/60
Instrument Code: | PID/29 | Instrument Code: | PID/57
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance 15 KG XXII | Machine Name: | Heating hopper assembly
Machine No: | P/65 | Machine No: | P/66
Instrument Code: | WB/25 | Instrument Code: | PID/30
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Heating hopper assembly | Machine Name: | Heating hopper assembly
Machine No: | P/66 | Machine No: | P/66
Instrument Code: | PID/31 | Instrument Code: | PID/56
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance 15 KG XXIII | Machine Name: | Vacuum Oven I
Machine No: | P/67 | Machine No: | P/68
Instrument Code: | WB/26 | Instrument Code: | PID/32
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Vacuum Oven II | Machine Name: | Electronic Balance 15 KG XXIV
Machine No: | P/69 | Machine No: | P/71
Instrument Code: | PID/33 | Instrument Code: | WB/27
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance (100Kg) | Machine Name: | Electronic Balance 15kgs
Machine No: | P/76 | Machine No: | P/77
Instrument Code: | WB/11 | Instrument Code: | WB/12
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance 15 KG XXV | Machine Name: | Electronic Balance – 2 Ton
Machine No: | P/79 | Machine No: | P/85
Instrument Code: | WB/28 | Instrument Code: | WB/33
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Band Sealer III | Machine Name: | Electronic Balance 600 G-XII
Machine No: | P/87 | Machine No: | P/88
Instrument Code: | PID/52 | Instrument Code: | WB/13
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance 15 Kg-XIII | Machine Name: | Electronic Balance 15 Kg-XIV
Machine No: | P/90 | Machine No: | P/91
Instrument Code: | WB/14 | Instrument Code: | WB/15
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance 15 Kg-XV | Machine Name: | PCM Mixer-IV
Machine No: | P/92 | Machine No: | P/93
Instrument Code: | WB/16 | Instrument Code: | PID/53
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | PCM Mixer-IV | Machine Name: | Electronic Balance 500 KG XVI
Machine No: | P/93 | Machine No: | P/100
Instrument Code: | PID/54 | Instrument Code: | WB/19
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance 15 KG XVII | Machine Name: | Electronic Balance 5 KG XVIII
Machine No: | P/101 | Machine No: | P/104
Instrument Code: | WB/20 | Instrument Code: | WB/21
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance 5 KG XIX | Machine Name: | Electronic Balance 20 KG XX
Machine No: | P/105 | Machine No: | P/106
Instrument Code: | WB/22 | Instrument Code: | WB/23
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
PLUSS |  | PLUSS
Machine Name: | Electronic Balance 15 KG XXVI | Machine Name: | Electronic Balance 15 KG XXVII
Machine No: | P/110 | Machine No: | P/111
Instrument Code: | WB/29 | Instrument Code: | WB/30
Calibration Date: | 2024-08-31 | Calibration Date: | 2024-08-31
Calibration Due Date: | 2024-11-30 | Calibration Due Date: | 2024-11-30
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: |  | Machine Name:
Machine No: |  | Machine No:
Instrument Code: |  | Instrument Code:
Calibration Date: |  | Calibration Date:
Calibration Due Date: |  | Calibration Due Date:
Status (OK/NOT OK): |  | Status (OK/NOT OK):
Sign: |  | Sign:
Formulas:
Hot Plate = SUM([Ultra Low Temp Constant Bath-I])
Hot Plate = [Ultra Low Temp Constant Bath-I]

## Calibration Sticker(New) (hidden)
Machine Name: | Ultra Low Temp Constant Bath-I | Machine Name: | Hot Plate
Machine No: | L/02 | Machine No: | L/03
Instrument Code: | PID/34 | Instrument Code: | PID/35
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electric Oven | Machine Name: | Water Bath-Hot
Machine No: | L/04 | Machine No: | L/05
Instrument Code: | PID/36 | Instrument Code: | PID/37
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Water Bath-Cold | Machine Name: | T-History Apparatus - I
Machine No: | L/06 | Machine No: | L/07
Instrument Code: | PID/38 | Instrument Code: | PID/39
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Water Bath-Hot II | Machine Name: | T-History Apparatus - II
Machine No: | L/09 | Machine No: | L/10
Instrument Code: | PID/66 | Instrument Code: | PID/69
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: | 0 | Sign:
Machine Name: | Ultra Low Temp Constant Bath-III | Machine Name: | Ultra Low Temp Constant Bath-II
Machine No: | L/11 | Machine No: | L/16
Instrument Code: | PID/70 | Instrument Code: | PID/49
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 15 KG | Machine Name: | Hot Water Tank 300 Ltr
Machine No: | L/17 | Machine No: | U/12
Instrument Code: | WB/17 | Instrument Code: | PID/67
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Hot water tank 200 Ltr | Machine Name: | Electronic Balance (100Kg)
Machine No: | U/32 | Machine No: | P/01
Instrument Code: | PID/50 | Instrument Code: | WB/01
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Vacuum Oven-III | Machine Name: | PCM Mixer – I
Machine No: | P/02 | Machine No: | P/09
Instrument Code: | PID/68 | Instrument Code: | PID/07
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | PCM Mixer – I | Machine Name: | 500L PCM Mixer-VI
Machine No: | P/09 | Machine No: | P/12
Instrument Code: | PID/08 | Instrument Code: | PID/63
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | 500L PCM Mixer-VI | Machine Name: | 1.5KL PCM Mixer-VII
Machine No: | P/12 | Machine No: | P/13
Instrument Code: | PID/64 | Instrument Code: | PID/65
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Pouch Filling & Sealing Machine I | Machine Name: | Pouch Filling & Sealing Machine I
Machine No: | P/18 | Machine No: | P/18
Instrument Code: | PID/11 | Instrument Code: | PID/12
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Pouch Filling & Sealing Machine I | Machine Name: | Pouch Filling & Sealing Machine I
Machine No: | P/18 | Machine No: | P/18
Instrument Code: | PID/13 | Instrument Code: | PID/14
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Pouch Filling & Sealing Machine I | Machine Name: | Electronic Balance 20 KG XXI
Machine No: | P/18 | Machine No: | P/24
Instrument Code: | PID/15 | Instrument Code: | WB/31
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 20 KG XXII | Machine Name: | Band Sealer I
Machine No: | P/25 | Machine No: | P/34
Instrument Code: | WB/32 | Instrument Code: | PID/18
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | Ok
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Band Sealer II | Machine Name: | Band Sealer IV
Machine No: | P/35 | Machine No: | P/36
Instrument Code: | PID/19 | Instrument Code: | PID/59
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Band Sealer V | Machine Name: | Planetary Mixer
Machine No: | P/37 | Machine No: | P/38
Instrument Code: | PID/60 | Instrument Code: | PID/20
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 10 Kg | Machine Name: | Sigma mixer II
Machine No: | P/39 | Machine No: | P/42
Instrument Code: | WB/03 | Instrument Code: | PID/21
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Band Sealer VI | Machine Name: | Electronic Balance 15 Kg
Machine No: | P/43 | Machine No: | P/44
Instrument Code: | PID/61 | Instrument Code: | WB/04
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Band Sealer VII | Machine Name: | Pouch Filling & Sealing Machine III
Machine No: | P/46 | Machine No: | P/48
Instrument Code: | PID/62 | Instrument Code: | PID/25
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Thermotab Cap Sealing Machine | Machine Name: | Thermotab Cap Sealing Machine
Machine No: | P/52 | Machine No: | P/52
Instrument Code: | PID/26 | Instrument Code: | PID/27
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 15 KG XXI | Machine Name: | PCM Mixer III
Machine No: | P/54 | Machine No: | P/58
Instrument Code: | WB/24 | Instrument Code: | PID/28
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | PCM Mixer III | Machine Name: | FFS-III
Machine No: | P/58 | Machine No: | P/60
Instrument Code: | PID/29 | Instrument Code: | PID/57
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 15 KG XXII | Machine Name: | Heating hopper assembly
Machine No: | P/65 | Machine No: | P/66
Instrument Code: | WB/25 | Instrument Code: | PID/30
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Heating hopper assembly | Machine Name: | Heating hopper assembly
Machine No: | P/66 | Machine No: | P/66
Instrument Code: | PID/31 | Instrument Code: | PID/56
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 15 KG XXIII | Machine Name: | Vacuum Oven I
Machine No: | P/67 | Machine No: | P/68
Instrument Code: | WB/26 | Instrument Code: | PID/32
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Vacuum Oven II | Machine Name: | Electronic Balance 15 KG XXIV
Machine No: | P/69 | Machine No: | P/71
Instrument Code: | PID/33 | Instrument Code: | WB/27
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance (100Kg) | Machine Name: | Electronic Balance 15kgs
Machine No: | P/76 | Machine No: | P/77
Instrument Code: | WB/11 | Instrument Code: | WB/12
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 15 KG XXV | Machine Name: | Electronic Balance – 2 Ton
Machine No: | P/79 | Machine No: | P/85
Instrument Code: | WB/28 | Instrument Code: | WB/33
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Band Sealer III | Machine Name: | Electronic Balance 600 G-XII
Machine No: | P/87 | Machine No: | P/88
Instrument Code: | PID/52 | Instrument Code: | WB/13
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 15 Kg-XIII | Machine Name: | Electronic Balance 15 Kg-XIV
Machine No: | P/90 | Machine No: | P/91
Instrument Code: | WB/14 | Instrument Code: | WB/15
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 15 Kg-XV | Machine Name: | PCM Mixer-IV
Machine No: | P/92 | Machine No: | P/93
Instrument Code: | WB/16 | Instrument Code: | PID/53
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | PCM Mixer-IV | Machine Name: | Electronic Balance 500 KG XVI
Machine No: | P/93 | Machine No: | P/100
Instrument Code: | PID/54 | Instrument Code: | WB/19
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 15 KG XVII | Machine Name: | Electronic Balance 5 KG XVIII
Machine No: | P/101 | Machine No: | P/104
Instrument Code: | WB/20 | Instrument Code: | WB/21
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 5 KG XIX | Machine Name: | Electronic Balance 20 KG XX
Machine No: | P/105 | Machine No: | P/106
Instrument Code: | WB/22 | Instrument Code: | WB/23
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | Electronic Balance 15 KG XXVI | Machine Name: | Electronic Balance 15 KG XXVII
Machine No: | P/110 | Machine No: | P/111
Instrument Code: | WB/29 | Instrument Code: | WB/30
Calibration Date: | 2025-08-30 | Calibration Date: | 2025-08-30
Calibration Due Date: | 2025-11-29 | Calibration Due Date: | 2025-11-29
Status (OK/NOT OK): | Ok | Status (OK/NOT OK): | Ok
Sign: |  | Sign:
Machine Name: | FFS-2 | Machine Name: | FFS-2
Machine No: | P/40 | Machine No: | P/40
Instrument Code: | H1-F | Instrument Code: | H1-R
Calibration Date: | 2025-07-01 | Calibration Date: | 2025-07-01
Calibration Due Date: | 2025-10-01 | Calibration Due Date: | 2025-10-01
Status (OK/NOT OK): | OK | Status (OK/NOT OK): | OK
Sign: |  | Sign:
Machine Name: | FFS-2 | Machine Name: | FFS-2
Machine No: | P/40 | Machine No: | P/40
Instrument Code: | H2-F | Instrument Code: | H2-R
Calibration Date: | 2025-07-01 | Calibration Date: | 2025-07-01
Calibration Due Date: | 2025-10-01 | Calibration Due Date: | 2025-10-01
Status (OK/NOT OK): | OK | Status (OK/NOT OK): | OK
Sign: |  | Sign:
Machine Name: | FFS-2 | Machine Name: | FFS-2
Machine No: | P/40 | Machine No: | P/40
Instrument Code: | H3-F | Instrument Code: | H3-R
Calibration Date: | 2025-07-01 | Calibration Date: | 2025-07-01
Calibration Due Date: | 2025-10-01 | Calibration Due Date: | 2025-10-01
Status (OK/NOT OK): | OK | Status (OK/NOT OK): | OK
Sign: |  | Sign:
Machine Name: | FFS-2 | Machine Name: | FFS-2
Machine No: | P/40 | Machine No: | P/40
Instrument Code: | H4-F | Instrument Code: | H4-R
Calibration Date: | 2025-07-01 | Calibration Date: | 2025-07-01
Calibration Due Date: | 2025-10-01 | Calibration Due Date: | 2025-10-01
Status (OK/NOT OK): | OK | Status (OK/NOT OK): | OK
Sign: |  | Sign:
Machine Name: | FFS-2 | Machine Name: | FFS-2
Machine No: | P/40 | Machine No: | P/40
Instrument Code: | H5-F | Instrument Code: | H5-R
Calibration Date: | 2025-07-01 | Calibration Date: | 2025-07-01
Calibration Due Date: | 2025-10-01 | Calibration Due Date: | 2025-10-01
Status (OK/NOT OK): | OK | Status (OK/NOT OK): | OK
Sign: |  | Sign:
Machine Name: | FFS-2 | Machine Name: | Loadcell
Machine No: | P/40 | Machine No: | P/09
Instrument Code: | PID/74 | Instrument Code: | LC/01
Calibration Date: | 2025-07-01 | Calibration Date: | 2025-07-01
Calibration Due Date: | 2025-10-01 | Calibration Due Date: | 2025-10-01
Status (OK/NOT OK): | OK | Status (OK/NOT OK): | OK
Sign: |  | Sign:
Machine Name: | Loadcell | Machine Name: | Loadcell
Machine No: | P/12 | Machine No: | P/13
Instrument Code: | LC/02 | Instrument Code: | LC/03
Calibration Date: | 2025-07-01 | Calibration Date: | 2025-07-01
Calibration Due Date: | 2025-10-01 | Calibration Due Date: | 2025-10-01
Status (OK/NOT OK): | OK | Status (OK/NOT OK): | OK
Sign: |  | Sign:
Machine Name: | Loadcell | Machine Name: | Loadcell
Machine No: | P/58 | Machine No: | P/93
Instrument Code: | LC/04 | Instrument Code: | LC/05
Calibration Date: | 2025-07-01 | Calibration Date: | 2025-07-01
Calibration Due Date: | 2025-10-01 | Calibration Due Date: | 2025-10-01
Status (OK/NOT OK): | Not OK | Status (OK/NOT OK): | Not OK
Sign: |  | Sign:
Machine Name: | Loadcell | Machine Name:
Machine No: | P/128 | Machine No:
Instrument Code: | LC/06 | Instrument Code:
Calibration Date: | 2025-07-01 | Calibration Date:
Calibration Due Date: | 2025-10-01 | Calibration Due Date:
Status (OK/NOT OK): | OK | Status (OK/NOT OK):
Sign: |  | Sign:
Machine Name: |  | Machine Name:
Machine No: |  | Machine No:
Instrument Code: |  | Instrument Code:
Calibration Date: |  | Calibration Date:
Calibration Due Date: |  | Calibration Due Date:
Status (OK/NOT OK): |  | Status (OK/NOT OK):
Sign: |  | Sign:
Formulas:
Hot Plate = [Ultra Low Temp Constant Bath-I]

## Issue in Calibration (hidden)
Some issue ware observed while calibration on 04-Sep-23
Sr. No. | Machine/Equip. Code | Machine Name | Instrument Name | Calibration Initial status | Reason | Responsible | Final Status
1 | P/25 | Electronic Balance 20 KG XXII | Weighing Balance | Pending | Not being on | Mantenance team | Done
2 | P/39 | Electronic Balance 10 Kg | Weighing Balance | Pending | Not getting on |  | Done
3 | P/44 | Electronic Balance 15 Kg | Weighing Balance | Pending | Not getting on |  | Done
4 | P/67 | Electronic Balance 15 KG XXIII | Weighing Balance | Pending | Tare key is not working |  | Done
5 | P/13 | 1.5KL PCM Mixer-VII | Temperature Controller | Pending | Under maintenance |  | Done
6 | P/34 | Band Sealer I | Temperature Controller | Pending | Not in use and kept in PCM production | Production team | Pending
7 | P/36 | Band Sealer IV | Temperature Controller | Pending | Not in use and kept in PCM production |  | Pending
8 | P/37 | Band Sealer V | Temperature Controller | Pending | Not in use and kept in PCM production |  | Pending
9 | P/43 | Band Sealer VI | Temperature Controller | Pending | Not in use and kept in PCM production |  | Pending
10 | P/48 | Pouch Filling & Sealing Machine III | Temperature Controller | Pending | Not in use and kept in PCM production |  | Pending
11 | P/88 | Electronic Balance 600 G-XII | Weighing Balance | Not Ok | Weight is flectuating more than the tolerance | Maintanance | Done
12 | P/76 | Electronic Balance (100Kg) | Weighing Balance | Not Ok | Weight is flectuating more than the tolerance | Maintanance | Done
13 | P/92 | Electronic Balance 15 Kg-XV | Weighing Balance | Not Ok | Weight is flectuating more than the tolerance | Maintanance | Done
14 | P/104 | Electronic Balance 5 KG XVIII | Weighing Balance | Not Ok | Weight is flectuating more than the tolerance | Maintanance | Done
Some issue ware observed while calibration on 04-Dec-23
Sr. No. | Machine/Equip. Code | Machine Name | Instrument Name | Calibration Initial status | Reason | Responsible | Final Status
1 | P/69 | Vacuum Oven II | Temperature Controller | Pending | Temperature is not being stable. | Maintenance | Done
2 | P/67 | Electronic Balance 15 KG XXIII | Weighing Balance | Pending | side key is not being press properly. | Maintenance | Done
3 | P/100 | Electronic Balance 500 KG XVI | Weighing Balance | Pending | Weight is fluctuating more than the tolerance and showing error while pressing the key. | Maintenance | Done
4 | P/34 | Band Sealer I | Temperature Controller | Pending | Not in use and kept in PCM production | Production team | Pending
5 | P/37 | Band Sealer V | Temperature Controller | Pending | Not in use and kept in PCM production |  | Pending
6 | P/43 | Band Sealer VI | Temperature Controller | Pending | Not in use and kept in PCM production |  | Pending
7 | P/48 | Pouch Filling & Sealing Machine III | Temperature Controller | Pending | Not in use and kept in PCM production |  | Pending
Some issue ware observed while calibration on 31-Aug-24
Sr. No. | Machine/Equip. Code | Machine Name | Instrument Name | Calibration Initial status | Reason | Responsible | Final Status
1 | P/65 | Electronic Balance 15 KG XXII | Weighing Balance | Pending | Display is not being on. | Maintenance
2 | P/85 | Electronic Balance – 2 Ton | Electronic Balance – 2 Ton | Pending | Weight is fluctuating more than the tolerance.
3 | P/90 | Electronic Balance 15 Kg-XIII | Weighing Balance | Pending | Weight is fluctuating more than the tolerance.
4 | P/91 | Electronic Balance 15 Kg-XIV | Weighing Balance | Pending | Weight is fluctuating more than the tolerance.
5 | P/105 | Electronic Balance 5 KG XIX | Weighing Balance | Pending | Standard weight's reading is not showing in display.
1 | P/34 | Band Sealer I | Temperature Controller | Pending | Not in use while calibration on 31-Aug-24 | Production
2 | P/43 | Band Sealer VI | Temperature Controller | Pending
3 | P/48 | Pouch Filling & Sealing Machine III | Temperature Controller | Pending
4 | P/87 | Band Sealer III | Temperature Controller | Pending
Some issue ware observed while calibration on 30-Nov-24
Sr. No. | Machine/Equip. Code | Machine Name | Instrument Name | Calibration Initial status | Reason | Responsible | Final Status
1 | [5 empty] | Maintenance
2
3
4
5
1 | P/34 | Band Sealer I | Temperature Controller | Pending | Not in use while calibration on 30-Nov-24 | Production
2 | P/43 | Band Sealer VI | Temperature Controller | Pending
3 | P/48 | Pouch Filling & Sealing Machine III | Temperature Controller | Pending
4 | P/87 | Band Sealer III | Temperature Controller | Pending